IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Meadow Mountain Water Supply Company

Does/Did Not Meet Treatment Requirements

Our water system recently violated a drinking water standard. Although this was not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did to correct this situation.

We routinely monitor your water for turbidity (cloudiness) and disinfectant residual entering the distribution system. This tells us whether we are effectively filtering and disinfecting the water supply.  Water samples for APRIL 2014 showed that 13 percent of turbidity measurements were over 1 turbidity units.  The standard is that no more than 5 percent of samples may exceed 1 turbidity units per month. Normal turbidity levels at our plant are < 1 units.  In addition, disinfectant residual is the amount of chlorine or related disinfectant entering the pipes of the distribution system.  If the amount of the disinfectant residual is too low, organisms may grow in the pipes.  This situation did not occur in April. On __NA______, disinfectant residuals dropped below 0.2 mg/L for _0___ hours.  The standard is that levels may not drop below 0.2 mg/L for more than 4 hours.

What does this mean?  What should I do?

- You do not need to boil your water or take other actions. We do not know of any contamination, and none of our testing has shown disease-causing organisms in the drinking water.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers. General guidelines on ways to lessen the risk of infection by microbes are available from EPA’s Safe Drinking Water Hotline at 1 (800) 426-4791.

- Inadequately treated water may contain disease-causing organisms.  These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.  These symptoms, however, are not caused only by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.

- Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. These symptoms are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What happened? What was done?

This turbidity is due to our normal run-off.   We hope to have resolved the problem with the installation of our new Innovative Water Technologies UF 50 membrane system that was installed on April 16th through April 19th 2014.  We certainly have seen significant drops in our turbidity numbers entering our distribution system during the latter half of April.  But we need CDPHE to confirm that this system resolves the problem and that approval will not be forthcoming from CDPHE until the enforcement order is finally lifted, and we hope to have that complete by the end of this calendar year.  For more information, please contact Rachel Barkworth at 303-823-2318 or P.O. Box 354, Allenspark, CO, 80510, or at  RCBarkworth@yahoo.com.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by Meadow Mountain Water Supply Company.

Colorado Public Water System ID #: CO-0207504   Date distributed: May 7th, 2014.