IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

(System Name) _Meadow Mountain Water Supply Company__

Does/Did Not Meet Treatment Requirements

Our water system recently violated a drinking water standard. Although this situation does not require that you take immediate action, as our customers, you have a right to know what happened, what you should do, and what we are doing to correct this situation.

We routinely monitor for disinfectant residual in the distribution system.  This measurement tells us whether we are effectively disinfecting the water supply.  Disinfectant residual is the amount of chlorine or related disinfectant present in the pipes of the distribution system.  If the amount of the disinfectant residual is too low, organisms may grow in the pipes.  During the month of April 2015, disinfectant residual was undetectable in more than 5% of samples.  The standard is that disinfectant may be undetectable in no more than 5% of samples each month for two months in a row.

What does this mean?  What should I do?

- You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers. General guidelines on ways to lessen the risk of infection by microbes are available from EPA’s Safe Drinking Water Hotline at 1 (800) 426-4791.

- Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.  These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What happened? What is being done?

This situation is not an emergency. If it had been, you would have been notified immediately. Tests taken during this same time period did not indicate the presence of bacteria in the water.

We are working with the CDPHE to start completing a new Monthly Operating Reporting (MOR) form that will allow MMWSC to report additional numbers from our water plant that will prove the system keeps the correct amount of Chlorine Contact time before distributing water to the MMWSC distribution system.  We have been have difficulties in getting the water meter and all the data logging equipment installed correctly to allow us to record and report the correct data and the spreadsheet that we now have to report that data on is much more complicated to complete and we are working to understand how that spreadsheet should be filled out.

We anticipate resolving the problem within the next two months.  For more information, please contact Rachel Barkworth at  303-823-2318 or P.O. Box 354, Allenspark, CO, 80510, or via email at rcbarkworth@yahoo.com.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by Meadow Mountain Water Supply Company

Colorado Public Water System ID#: CO 0207504.   Date distributed: June 29th, 2015.