Colorado Department of Public Health and Environment -Water Quality Control Division

Drinking Water Program - Compliance Assurance and Data Management Unit

4300 Cherry Creek Drive South, Denver, CO 80246-1530


DBP Form 1 - Total Trihalomethane Analysis Laboratory Report Form

	Section I (to be completed by the Public Water Systems only)
	Section II (to be completed by Laboratories only)

	Public Water System Information
	Laboratory Information

	PWSID #               CO-0207504
	

	System Name:        Meadow Mountain Water Company
	Laboratory Name  Stewart Environmental Consultants, Inc.

	Address:                  P.O. Box 162, Allenspark, CO 80510
	Contact Person:     Richard G.  Patterson
	Phone #:   (970) 226-5500

	Contact Person:      Steve Tedford                                          
	Phone #:   (303) 747-2066
	Comments:

	
System Authorized Signature


Title

       Date
	                                                                                   Operations Manager                  08/21/06


Laboratory Authorized Signature

Title

         Date

	PWS to complete first 3 columns
	Laboratories to complete columns 4-6 and 8-11

	Sample Date
	Collector
	Sample Location

Designation #
	Date Lab Received
	Date Lab Analyzed
	Laboratory Sample ID #
	Analyte


	Analytical

Method
	µg/L

Blank Result
	µg/L

Lab MDL
	µg/L

Result

	  8/3/06
	 Steve
	  Opermann
	      8/3/06
	08/15/06
	       604174
	Chloroform
	524.2
	BDL
	2.0
	34.6

	
	 Tedford
	
	
	
	
	Bromoform
	524.2
	BDL
	2.0
	BDL

	
	
	
	
	
	
	Bromodichloromethane
	524.2
	BDL
	2.0
	2.6

	
	
	
	
	
	
	Dibromochloromethane
	524.2
	BDL
	2.0
	BDL

	
	
	
	
	
	
	TTHMs
	
	
	
	37.2

	Sample Date
	Collector
	Sample Location

Designation #
	Date Lab Received
	Date Lab Analyzed
	Laboratory Sample ID #
	Analyte
	Analytical

Method
	µg/L

Blank

Result
	µg/L

Lab MDL
	µg/L

Result

	
	
	
	
	
	
	Chloroform
	
	
	
	

	
	
	
	
	
	
	Bromoform
	
	
	
	

	
	
	
	
	
	
	Bromodichloromethane
	
	
	
	

	
	
	
	
	
	
	Dibromochloromethane
	
	
	
	

	
	
	
	
	
	
	TTHMs
	
	
	
	

	Sample Date
	Collector
	Sample Location

Designation #
	Date Lab Received
	Date Lab Analyzed
	Laboratory Sample ID #
	Analyte
	Analytical

Method
	µg/L

Blank

Result
	µg/L

Lab MDL
	µg/L

Result

	
	
	
	
	
	
	Chloroform
	
	
	
	

	
	
	
	
	
	
	Bromoform
	
	
	
	

	
	
	
	
	
	
	Bromodichloromethane
	
	
	
	

	
	
	
	
	
	
	Dibromochloromethane
	
	
	
	

	
	
	
	
	
	
	TTHMs
	
	
	
	

	Sample Date
	Collector
	Sample Location

Designation #
	Date Lab Received
	Date Lab Analyzed
	Laboratory Sample ID #
	Analyte
	Analytical

Method
	µg/L

Blank

Result
	µg/L

Lab MDL
	µg/L

Result

	
	
	
	
	
	
	Chloroform
	
	
	
	

	
	
	
	
	
	
	Bromoform
	
	
	
	

	
	
	
	
	
	
	Bromodichloromethane
	
	
	
	

	
	
	
	
	
	
	Dibromochloromethane
	
	
	
	

	
	
	
	
	
	
	TTHMs
	
	
	
	


Instructions on Reverse

INSTRUCTIONS FOR COMPLETING

Total Trihalomethane Analysis Laboratory Report Form
Section I – To be Completed by the Public Water System Submitting the Samples to the Laboratory
1. PWSID #:  Enter the Public Water System (PWS) Identification number assigned by CDPHE/WQCD.

2. System Name:  Enter system legal name provided to CDPHE/WQCD when PWSID assigned.

3. Address: The PWS mailing address.

4. Contact Person: The person at the public water system who would be able to answer questions about these samples.

5. Phone:  The phone number of the contact person.

6. Authorized Signature:  The person that signs the form must be the legal owner or authorized representative of the legal owner.  This signature certifies that the information submitted is correct and consistent with the written monitoring plan. Include title and date authorized.

Section II - To be Completed by the Laboratory Reporting the Results

7. Laboratory Name:  The name of the laboratory conducting the analyses.

8. Laboratory Contact:  The name of the person at the laboratory that would be able to answer questions about these samples.

9. Laboratory Phone Number:  The laboratory contact’s phone number.

10. Laboratory Comments: Any relative comments with regards to the samples.

11. Authorized Signature: The person that signs the form must be the laboratory authorized representative. Include title and date signed.

Abbreviations


NT:

Not Tested


B:

The analyte is found in the associated blank as well as in the sample.


µg/L:

Micrograms per Liter


MCL:

Maximum Contaminant Level


BDL:

Compound was analyzed, but the result was below the laboratory MDL


Lab MDL:
Laboratory Method Detection Limit


J:

Indicates the presence of a compound that meets the identification criteria, but the result is less than the practical 



quantitation limit (PQL) and greater than the Laboratory Method Detection Level (MDL). 




(Above the Lab MDL, but below the PQL.)

DBP Form 1 – Version 2

July 9, 2002


