## Community
Community Lead and Copper Materials Evaluation Summary Form Submit Online: wqcdcompliance.com/login (preferred); Fax: (303) 758-1398 WQCD–B2–Drinking Water CAS 4300 Cherry Creek Drive South; Denver, CO 80246-1530
Section I Public Water System Information
PWSID:
System Name:
Contact Person: |  | Phone: | Email:
*System Authorized Signature Printed Name Date
*Signature not required if submitted online.
Section II Materials Evaluation Summary by Tier Level
This is an evaluation of the entire service area. All service connections must be accounted for below.
Tier 1 Sites: Single family structures, currently being used as either a residence or business |  |  |  | Number of Sites
Containing copper pipe with lead solder installed in 1983 to 1987 (1/1/83 - 12/31/87)
Served by a lead service line (not typically installed after 1960)
Containing lead pipes, goosenecks, or pigtails (not typically installed after 1960)
Tier 2 Sites: Multiple-family residences and Buildings |  |  |  | Number of Sites
Containing copper pipe with lead solder installed in 1983 to 1987 (1/1/83 - 12/31/87)
Served by a lead service line (not typically installed after 1960)
Containing lead pipes, goosenecks, or pigtails (not typically installed after 1960)
Tier 3 Sites: Single-family structures |  |  |  | Number of Sites
Containing copper pipes with lead solder installed in 1982 or earlier
Non-Tier, Representative Sites: |  |  |  | Number of Sites
Examples include: Multi-family residences and buildings with copper pipe with lead solder built in 1982 or earlier Structures with copper pipes with lead-free solder (expected in structures built in 1988 and newer) Structures with PVC/PEX/Plastic
Describe the Plumbing Material of the Non-Tier, Representative Sites:
Materials Evaluation Procedure
Briefly describe how materials evaluation was completed (e.g. county assessor, records review, professional experience):
Materials Evaluation and Sample Pool Discrepancy
When present, high risk sites (e.g. Tier 1) must be included in the sample pool before low risk sites (e.g. Tier 3, Non-Tier). If high risk sites have not been included in the sample pool, please include explanation (e.g. vacation home, refuses participation): Note: The Department recommends unavailable high risk sites be included in the sample pool with an "Inactive" status.
Revision: 3/20/2019