- Check Nelson cross connection possibility at stable

- Check water fall features - Beibel, Lake, Hill

- Check Opperman, Krise, Barrett service lines

- Figure out how to calibrate the calorimeter and create a sheet for recording - weekly

- Pull old records from plant

- Look for Nitrate 2012

- Delegation of Duties Operational Plan

- Barry Certification Numbers for Water and Distribution and types and expiry date

- Send Barry MORs and Originals - do this regularly for last year

- Adam’s Water and Dust license info

Prep for plant

- Check hose at the plant for filling Chlorine and Soda Ash solution tanks

- Ask Andrew how to pull up Turbidity Meter Calibration records on the turbidity meter

- Double check how to use the pocket calorimeters, be able to show at sanitary surgery